. ROOTING SUBSTSTRATE

Supply and installation of:

DAKU MIX SEMINA, which is a mixture of volcanic sands (lapillus and pumice stone) in different specific quantities and granulometries and of DAKU KOMPOST, a compost of organic nature. DAKU MIX SEMINA is necessary to complete the DAKU ROOF SOIL substrate, allowing rooting for grass and plants. DAKU MIX SEMINA is made of natural materials. For this reason, its characteristics are taken from gross production values and do not represent a contract obligation.

The mixture is manually laid on the DAKU ROOF SOIL substrate, which has been previously installed with a thickness of …… cm when laying.

The material will be supplied unpackaged

The material will be supplied in 33l bags

The materials will be supplied in “Big Bags” (1 m3)

m3 0,00